## Index
Index
Title | Table Number
Licensed Capacity for Electricity Generation | 1
Licensed Capacity by Unit Type | 2
Peak Load | 3
Total Energy Delivered to the grid | 4
Total Electrical Energy Consumption | 5
Electrical Energy Consumed by Consumption Category | 6
Number of Electrical Energy Consumers | 7
Per Capita and Consumer of Electrical Energy Consumed for the consumption category "residential" | 8
Transmission and Distribution Network Loss Percentage | 9

## 1
Licensed Capacity for Electricity Generation
Table (1)
Years | Unit | Licensed Capacity*
2019 | Gigawatt | 85
2020 |  | 90
2021 |  | 90
2022 |  | 90
2023 |  | 91
Source: Ministry of Energy
*Licensed Capacity: refers to the maximum amount of electricity that a power generation facility is authorized to produce.
Back to Index

## 2
Licensed Capacity by Unit Type
Table (2)
Years | Unit | Steam units | Gas units | Combined cycle units | Diesel units | Renewable energy | Total
2019 | Gigawatt | 38 | 29.6 | 16.7 | 0.4 | 0.3 | 85
2020 |  | 44.8 | 31.9 | 12.6 | 0.4 | 0.3 | 90
2021 |  | 44.5 | 31.5 | 13.3 | 0.3 | 0.4 | 90
2022 |  | 44.6 | 31.5 | 13.3 | 0.3 | 0.8 | 90.5
2023 |  | 44.6 | 31.5 | 13.3 | 0.3 | 1.4 | 91.1
Source: Ministry of Energy
Back to Index

## 3
Peak Load
Table (3)
Years | Unit | Peak Load*
2019 | Gigawatt | 62.1
2020 |  | 62.3
2021 |  | 64.2
2022 |  | 65.3
2023 |  | 70.7
Source: Ministry of Energy
*Peak load: It is the highest load to provide electrical energy for a fixed period within a specified period of time.
Back to Index

## 4
Total Energy Delivered to the grid
Table (4)
Years | Unit | Total Energy Delivered to the grid
2010 | Gigawatt Hour | 234372
2011 |  | 243953
2012 |  | 265256
2013 |  | 277883
2014 |  | 304702
2015 |  | 330822
2016 |  | 337428
2017 |  | 354365
2018 |  | 334857
2019 |  | 335915
2020 |  | 338031
2021 |  | 349419
2022 |  | 362729
2023 |  | 380878
Source: Ministry of Energy
Back to Index

## 5
Total Electrical Energy Consumption
Table (5)
Years | Unit | Total Electrical Energy Consumption
2010 | Gigawatt Hour | 212262.57
2011 |  | 219661.62
2012 |  | 246369
2013 |  | 262506
2014 |  | 278135
2015 |  | 294614
2016 |  | 296625
2017 |  | 298292
2018 |  | 299185
2019 |  | 288609
2020 |  | 289330
2021 |  | 301562
2022 |  | 309524
2023 |  | 327001
Source: Ministry of Energy
Back to Index

## 6
Electrical Energy Consumed by Consumption Category
Table (6)
Years | Unit | "Residential" consumption category | "Commercial" consumption category | "Government" consumption category | "Industrial" consumption category | Other consumption categories* | Total
2021 | Gigawatt hour | 142483.6 | 45516.51 | 38106.24 | 58703.5 | 16751.5 | 301562
2022 |  | 142807 | 50223 | 36357.32 | 60702.83 | 19433 | 309524
2023 |  | 152782 | 59134 | 35861 | 60531 | 18693 | 327001
Source: Ministry of Energy
*Other consumption categories: These include agricultural, health, educational, and water desalination categories.
Back to Index

## 7
Number of Electrical Energy Consumers
Table (7)
Years | Unit | Number of electrical energy consumers
2010 | Number | 5997553
2011 |  | 6341025
2012 |  | 6747572.5833
2013 |  | 7160038.5833
2014 |  | 7620108.75
2015 |  | 8112432.9167
2016 |  | 8607269.1667
2017 |  | 9068608.75
2018 |  | 9433635.3333
2019 |  | 9778133.0833
2020 |  | 10142504.4167
2021 |  | 10521392.4167
2022 |  | 10929177
2023 |  | 11015627
Source: Ministry of Energy
Back to Index

## 8
Per Capita and Consumer of Electrical Energy Consumed for the consumption category "residential"
Table (8)
Years | Population | Number of consumers | Electrical Energy Consumed | Per capita* | Per consumer*
Unit
| Number | Number | Gigawatt | Kilowatt-hour per capita | Kilowatt-hour per consumer
2019 | 30063799 | 7728360.5 | 128507.1514 | 4274.4815 | 16627.9965
2020 | 31552510 | 8061921.5 | 137658.9253 | 4362.8518 | 17075.2004
2021 | 30784383 | 8421630.5 | 142483.6032 | 4628.4378 | 16918.7669
2022 | 32175224 | 8792838 | 142806.8781 | 4438.4113 | 16241.2725
2023 | 33702731 | 8889840 | 152782.1618 | 4533.2279 | 17186.1543
Source: Ministry of Energy / General Authority for Statistics
*Per Capita: The amount of electricity consumed per individual in a specific community over a defined period (usually a year), which is estimated based on the Population Estimates Statistics
*Per Consumer: The amount of electricity consumed by a single consumer (such as a household, institution, or company) during a specific period of time. |  |  |  |  | Back to Index

## 9
Transmission and Distribution Network Loss Percentage
Table (9)
Years | Unit | Transmission and distribution network loss percentage
2019 | % | 9.37
2020 |  | 10.83
2021 |  | 10.26
2022 |  | 10.14
2023 |  | 9.49
Source: Ministry of Energy
Back to Index